# Labelling and location of SSD cables installed on the cones

# 1 Labelling :

On the two cones 22 groups of cables are laid :

- 10 groups of  3 cables : 1 power cable, 1 sense cable and 1 HV cable

- 10 groups of 2 cables : 1 power cable, 1 sense cable

- 2 groups of 1 cable : 1 signal cable

- 10 groups of cables of the 20 are equipped with 1 air hose

The following tables describes what composes each group of cables and corresponding the label. The power, sense and HV cable are linked together on the same connector at the large end of the cone, this is why only one label is defined.

## 1.2 West cone :

| Group of cable | Composition | Label at the big end | Label at the small end |
| --- | --- | --- | --- |
| Group 1 | 2 cables 1 air hose | SSD W1 SSD_AIR_W1 | SSD_PWR_W1 SSD_SEN_W1 SSD_AIR_W1 |
| Group 2 | 2 cables | SSD W2 | SSD_PWR_W2 SSD_SEN_W2 |
| Group 3 | 2 cables 1 air hose | SSD W3 SSD_AIR_W3 | SSD_PWR_W3 SSD_SEN_W3 SSD_AIR_W3 |
| Group 4 | 2 cables | SSD W4 | SSD_PWR_W4 SSD_SEN_W4 |
| Group 5 | 2 cables 1 air hose | SSD W5 SSD_AIR_W5 | SSD_PWR_W5 SSD_SEN_W5 SSD_AIR_W5 |
| Group 6 | 2 cables | SSD W6 | SSD_PWR_W6 SSD_SEN_W6 |
| Group 7 | 2 cables 1 air hose | SSD W7 SSD_AIR_W7 | SSD_PWR_W7 SSD_SEN_W7 SSD_AIR_W7 |
| Group 8 | 2 cables | SSD W8 | SSD_PWR_W8 SSD_SEN_W8 |
| Group 9 | 2 cables 1 air hose | SSD W9 SSD_AIR_W9 | SSD_PWR_W9 SSD_SEN_W9 SSD_AIR_W9 |
| Group 10 | 2 cables | SSD W10 | SSD_PWR_W10 SSD_SEN_W10 |

| Group of cable | Composition | Label at the big end | Label at the small end |
| --- | --- | --- | --- |
| Group 11 | 3 cables 1 air hose | SSD W11 SSD_AIR_W11 | SSD_PWR_W11 SSD_SEN_W11 SSD_HV_W11 SSD_AIR_W11 |
| Group 12 | 3 cables | SSD W12 | SSD_PWR_W12 SSD_SEN_W12 SSD_HV_W12 |
| Group 13 | 3 cables 1 air hose | SSD W13 SSD_AIR_W13 | SSD_PWR_W13 SSD_SEN_W13 SSD_HV_W13 SSD_AIR_W13 |
| Group14 | 3 cables | SSD W14 | SSD_PWR_W14 SSD_SEN_W14 SSD_HV_W14 |
| Group 15 | 3 cables 1 air hose | SSD W15 SSD_AIR_W15 | SSD_PWR_W15 SSD_SEN_W15 SSD_HV_W15 SSD_AIR_W15 |
| Group16 | 3 cables | SSD W16 | SSD_PWR_W16 SSD_SEN_W16 SSD_HV_W16 |
| Group17 | 3 cables 1 air hose | SSD W17 SSD_AIR_W17 | SSD_PWR_W17 SSD_SEN_W17 SSD_HV_W17 SSD_AIR_W17 |
| Group 18 | 3 cables | SSD W18 | SSD_PWR_W18 SSD_SEN_W18 SSD_HV_W18 |
| Group 19 | 3 cables 1 air hose | SSD W19 SSD_AIR_W19 | SSD_PWR_W19 SSD_SEN_W19 SSD_HV_W19 SSD_AIR_W19 |
| Group 20 | 3 cables | SSD W20 | SSD_PWR_W20 SSD_SEN_W20 SSD_HV_W20 |
| Group 21 | 1 cable | SSD_SIG_W1 | SSD_SIG_W1 |
| Group 22 | 1 cable | SSD_SIG_W2 | SSD_SIG_W2 |

## 1.2 East cone :

| Group of cable | Composition | Label at the big end | Label at the small end |
| --- | --- | --- | --- |
| Group 1 | 3 cables | SSD E1 | SSD_PWR_E1 SSD_SEN_E1 SSD_HV-E1 |
| Group 2 | 3 cables 1 air hose | SSD E2 SSD_AIR_E2 | SSD_PWR_E2 SSD_SEN_E2 SSD_HV_E2 SSD_AIR_E2 |
| Group 3 | 3 cables | SSD E3 | SSD_PWR_E3 SSD_SEN_E3 SSD_HV_E3 |
| Group 4 | 3 cables 1 air hose | SSD E4 SSD_AIR_E4 | SSD_PWR_E4 SSD_SEN_E4 SSD_HV_E4 SSD_AIR_E4 |
| Group 5 | 3 cables | SSD E5 | SSD_PWR_E5 SSD_SEN_E5 SSD_HV_E5 |
| Group 6 | 3 cables 1 air hose | SSD E6 SSD_AIR_E6 | SSD_PWR_E6 SSD_SEN_E6 SSD_HV_E6 SSD_AIR_E6 |
| Group 7 | 3 cables | SSD E7 | SSD_PWR_E7 SSD_SEN_E7 SSD_HV_E7 |
| Group 8 | 3 cables 1 air hose | SSD E8 SSD_AIR_E8 | SSD_PWR_E8 SSD_SEN_E8 SSD_HV_E8 SSD_AIR_E8 |
| Group 9 | 3 cables | SSD E9 | SSD_PWR_E9 SSD_SEN_E9 SSD_HV_E9 |
| Group 10 | 3 cables 1 air hose | SSD E10 SSD_AIR_E10 | SSD_PWR_E10 SSD_SEN_E10 SSD_HV_E10 SSD_AIR_E10 |

| Group of cable | Composition | Label at the big end | Label at the small end |
| --- | --- | --- | --- |
| Group 11 | 2 cables | SSD E11 | SSD_PWR_E11 SSD_SEN_E11 |
| Group 12 | 2 cables 1 air hose | SSD E12 SSD_AIR_E12 | SSD_PWR_E12 SSD_SEN_E12 SSD_AIR_E12 |
| Group 13 | 2 cables | SSD E13 | SSD_PWR_E13 SSD_SEN_E13 |
| Group14 | 2 cables 1 air hose | SSD E14 SSD_AIR_E14 | SSD_PWR_E14 SSD_SEN_E14 SSD_AIR_E14 |
| Group 15 | 2 cables | SSD E15 | SSD_PWR_E15 SSD_SEN_E15 |
| Group16 | 2 cables 1 air hose | SSD E16 SSD_AIR_E16 | SSD_PWR_E16 SSD_SEN_E16 SSD_AIR_E16 |
| Group17 | 2 cables | SSD E17 | SSD_PWR_E17 SSD_SEN_E17 |
| Group 18 | 2 cables 1 air hose | SSD E18 SSD_AIR_E18 | SSD_PWR_E18 SSD_SEN_E18 SSD_AIR_E18 |
| Group 19 | 2 cables | SSD E19 | SSD_PWR_E19 SSD_SEN_E19 |
| Group 20 | 2 cables | SSD E20 SSD_AIR_E20 | SSD_PWR_E20 SSD_SEN_E20 SSD_AIR_E20 |
| Group 21 | 1 cable | SSD_SIG_E1 | SSD_SIG_E1 |
| Group 22 | 1 cable | SSD_SIG_E2 | SSD_SIG_E2 |

# 2 Cable location at the large end of the cones

The following drawing shows where the groups of cables are located at the large end of the cones.