## Values
The following list shows the absolute location of the center of each wafer relative to the origin (0,0,0) (i.e. the pin where it meets the mount on the OSC)
The ladders were surveyed "sunnyside up", in other words, the Si modules face up to the survey machine which was above the wafer. In normal use, the wafers will be facing the beamline.
The origin is the pin; the X axis extends from the pin to the slot; the Z axis points towards the beamine (always); the Y axis is determined by right hand rule.
Rotations are CCW about the Z axis, like a mathematician does it, positive rotation of 90 degrees rotates the +X axis to where the +Y axis was previously.
Units are millimeters and mRadians |  |  |  |  | Note: *** These are Ladder ID numbers, not their geographic location on the detector ***
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
Xreference | 180.5 | 224 | 267.5 | 311 | 354.5 | 398 | 441.5 | 485 | 528.5 | 572 | 615.5 | 659 | 702.5 | 746 | 789.5 | 833
YReference | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zreference | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Ladder # | 1
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5199 | 224.0099 | 267.5376 | 311.0016 | 354.5211 | 398.0249 | 441.5305 | 485.0566 | 528.474 | 572.0231 | 615.5165 | 659.0499 | 702.5825 | 746.2026 | 789.6754 | 832.9757
dY0 | 0.1782 | 0.2121 | 0.21028 | 0.2371 | 0.2302 | 0.25485 | 0.2578 | 0.2575 | 0.25565 | 0.2672 | 0.29515 | 0.26965 | 0.28128 | 0.29933 | 0.25947 | 0.29706
dZ0(90) | 4.0021 | 3.9868 | 3.9806 | 3.9713 | 3.9657 | 3.952 | 3.9567 | 3.9522 | 3.9394 | 3.951 | 3.9496 | 3.9744 | 3.9837 | 3.9967 | 4.0018 | 4.212
Rot(mRad) | 0.32021 | 0.12632 | 0.71379 | 0.18999 | 0.01481 | 0.11535 | -0.041311 | 0.20271 | 0.25736 | 0.32369 | -0.0027287 | -0.0028348 | 0.26066 | -0.24908 | 0.058961 | 0.41692
Ladder # | 2
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5048 | 224.0081 | 267.521 | 311.0009 | 354.5032 | 398.0196 | 441.5011 | 484.995 | 528.5062 | 572.0015 | 615.5131 | 659.0038 | 702.6339 | 746.0216 | 789.5175 | 833.0321
dY0 | -0.00465 | 0.02915 | 0.031493 | 0.05375 | 0.0522 | 0.056104 | 0.074551 | 0.0798 | 0.091952 | 0.092051 | 0.10615 | 0.1073 | 0.12518 | 0.10905 | 0.13115 | 0.1349
dZ0(90) | 5.9062 | 5.8571 | 5.8175 | 5.7636 | 5.7831 | 5.7488 | 5.7383 | 5.7445 | 5.7402 | 5.7402 | 5.7328 | 5.7711 | 5.7903 | 5.8138 | 5.8631 | 5.8923
Rot(mRad) | -0.12464 | 0.26385 | 0.20299 | -0.0073472 | -0.10198 | -0.14562 | 0.25367 | -0.0023959 | -0.06565 | -0.0015823 | -0.1233 | 0.044278 | 0.1415 | -0.067425 | 0.32754 | -0.020035
Ladder # | 3
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5656 | 224.065 | 267.5779 | 311.0279 | 354.5578 | 398.065 | 441.5727 | 485.0765 | 528.7376 | 572.0538 | 615.5627 | 659.0435 | 702.5722 | 746.124 | 789.6549 | 833.1803
dY0 | 0.052173 | 0.053392 | 0.067431 | 0.079393 | 0.096385 | 0.10169 | 0.12181 | 0.12534 | 0.15359 | 0.14804 | 0.18481 | 0.17522 | 0.19571 | 0.20955 | 0.24203 | 0.26851
dZ0(90) | 5.9959 | 5.9508 | 5.9819 | 5.9403 | 5.9724 | 5.9454 | 5.9177 | 5.9416 | 5.9481 | 5.9448 | 5.9641 | 5.938 | 5.9591 | 5.9512 | 5.9638 | 5.9848
Rot(mRad) | 0.36763 | 0.2055 | 0.24359 | 0.42682 | 0.16622 | 0.25221 | -0.11471 | 0.97674 | 0.51959 | 0.30699 | 0.79423 | 0.7018 | 0.5161 | 1.7685 | 0.99907 | 1.0859
Ladder # | 4
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5132 | 224.0101 | 267.4981 | 310.9853 | 354.531 | 398.0529 | 441.5021 | 484.9846 | 528.5158 | 572.2214 | 615.7084 | 659.1423 | 702.5307 | 746.061 | 789.5416 | 833.0255
dY0 | -0.05525 | -0.053299 | -0.043651 | -0.036252 | -0.016393 | -0.023981 | -0.024349 | 0.0004471 | 0.0087528 | 0.013442 | 0.024555 | 0.02931 | 0.036103 | 0.047835 | 0.03884 | 0.055244
dZ0(90) | 5.9827 | 5.9865 | 5.9673 | 5.9386 | 5.9357 | 5.912 | 5.9343 | 5.9185 | 5.922 | 5.9128 | 5.8947 | 5.9454 | 5.9434 | 5.9472 | 5.9889 | 6.0019
Rot(mRad) | 0.025311 | 0.084087 | -0.15598 | 0.014784 | -0.27274 | 0.54868 | 0.082481 | -0.079071 | -0.14372 | -0.1055 | -0.17642 | -0.058273 | -0.0095975 | 0.21924 | 0.23311 | 0.28763
Ladder # | 5
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.535 | 224.0303 | 267.5649 | 311.0547 | 354.523 | 398.0837 | 441.4944 | 485.0265 | 528.526 | 572.0175 | 615.5062 | 659.0647 | 702.5185 | 746.036 | 789.5562 | 833.0549
dY0 | 0.0081417 | 0.010605 | -0.01581 | -0.017296 | -0.021844 | -0.031491 | -0.0296 | -0.041195 | -0.0737 | -0.070349 | -0.067049 | -0.082796 | -0.064603 | -0.083857 | -0.11496 | -0.11054
dZ0(90) | 5.9579 | 5.9383 | 5.9535 | 5.9118 | 5.8966 | 5.9054 | 5.9054 | 5.8923 | 5.8953 | 5.8785 | 5.9055 | 5.8983 | 5.9038 | 5.911 | 5.9195 | 5.9432
Rot(mRad) | 0.024352 | -0.16506 | -0.017857 | -0.15879 | -0.1879 | 0.053664 | 0.0072253 | -0.056203 | -0.012014 | -0.035471 | -0.16348 | -0.025589 | 0.14895 | 0.18653 | 0.11905 | -0.16169
Ladder # | 6
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5573 | 224.1255 | 267.6252 | 311.128 | 354.6117 | 398.1274 | 441.6559 | 485.1457 | 528.6286 | 572.1408 | 615.6664 | 658.9632 | 702.6805 | 746.1805 | 789.3867 | 833.189
dY0 | -0.11122 | -0.1263 | -0.14667 | -0.1679 | -0.18843 | -0.20269 | -0.21291 | -0.21128 | -0.23867 | -0.23415 | -0.24329 | -0.28067 | -0.26925 | -0.23838 | -0.25198 | -0.26246
dZ0(90) | 6.2209 | 6.2284 | 6.2359 | 6.2593 | 6.2895 | 6.3015 | 6.295 | 6.2871 | 6.3081 | 6.2732 | 6.2489 | 6.2486 | 6.2622 | 6.2466 | 6.2119 | 6.1924
Rot(mRad) | -0.48013 | -0.33628 | -0.42306 | -0.28668 | -0.31284 | -0.39868 | -0.35917 | -0.39314 | -0.31051 | -0.32099 | -0.06131 | 0.75202 | -0.224 | -0.11842 | 0.090868 | 0.1453
Ladder # | 7
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0
dY0
dZ0(90)
Rot(mRad)
Ladder # | 8
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5482 | 224.0405 | 267.5334 | 311.0509 | 354.5361 | 398.0453 | 441.5446 | 485.0435 | 528.5211 | 572.0329 | 615.5347 | 659.009 | 702.5465 | 746.0454 | 789.5541 | 833.0589
dY0 | 0.0067417 | 0.015897 | 0.040049 | 0.05605 | 0.076991 | 0.088039 | 0.099739 | 0.11129 | 0.125 | 0.14555 | 0.16554 | 0.17715 | 0.20019 | 0.21494 | 0.22785 | 0.24064
dZ0(90) | 5.6611 | 5.6758 | 5.649 | 5.6439 | 5.654 | 5.6486 | 5.6582 | 5.6778 | 5.6999 | 5.7102 | 5.7342 | 5.7279 | 5.74 | 5.8197 | 5.8329 | 5.8819
Rot(mRad) | 0.12718 | 0.24322 | -0.019216 | 0.18155 | 0.20793 | 0.26066 | 0.090787 | 0.31401 | 0.10563 | 0.11415 | 0.1949 | 0.52376 | 0.26159 | 0.10824 | 0.048604 | 0.2305
Ladder # | 9
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5094 | 224.0288 | 267.5067 | 310.9631 | 354.529 | 398.0108 | 441.5119 | 484.9937 | 528.4881 | 572.0176 | 615.5289 | 659.0115 | 702.5129 | 746.0072 | 789.5088 | 833.0567
dY0 | -0.0406 | -0.040893 | -0.023501 | 0.042793 | -0.02345 | -0.004745 | -0.014999 | -0.017005 | -0.017201 | -0.0014499 | -0.0037541 | -0.0070482 | -0.0078987 | -0.0026487 | 0.0068008 | 0.0086464
dZ0(90) | 5.9086 | 5.888 | 5.8381 | 5.8362 | 5.8252 | 5.8164 | 5.7894 | 5.79 | 5.7916 | 5.8 | 5.8202 | 5.8292 | 5.8725 | 5.8691 | 5.8942 | 5.935
Rot(mRad) | 0.11538 | -0.21323 | 0.24876 | -0.10567 | -0.15716 | -0.37296 | 0.0084586 | -0.28628 | -0.11302 | 0.14404 | 0.21787 | -0.042456 | -0.25774 | -0.16293 | -0.085188 | 0.019703
Ladder # | 10
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5516 | 223.9862 | 267.4876 | 310.9912 | 354.4872 | 397.9859 | 441.4774 | 484.9707 | 528.4816 | 571.9815 | 615.4813 | 658.9748 | 702.4836 | 745.9801 | 789.4719 | 832.9934
dY0 | -0.12646 | -0.064549 | -0.074746 | -0.060251 | -0.039447 | -0.048949 | -0.029645 | -0.014383 | -0.0086501 | 0.019301 | 0.028048 | 0.043156 | 0.055807 | 0.085109 | 0.078158 | 0.116
dZ0(90) | 5.9052 | 5.8995 | 5.8579 | 5.8305 | 5.8156 | 5.8214 | 5.8062 | 5.8139 | 5.7986 | 5.8129 | 5.8311 | 5.8513 | 5.8342 | 5.8496 | 5.8961 | 5.9234
Rot(mRad) | 0.10574 | 0.085598 | 0.17012 | -0.062126 | 0.23933 | 0.084226 | 0.1486 | 0.40065 | -0.015108 | 0.20812 | -0.096329 | 0.34872 | 0.27563 | 0.4382 | 0.19681 | 0.2973
11
Ladder # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
Wafer # | 180.1643 | 224.0273 | 267.4973 | 311.0357 | 354.5009 | 398.0134 | 441.5369 | 485.0126 | 528.5224 | 572.015 | 615.5277 | 659.0519 | 702.5335 | 746.0302 | 789.5327 | 833.1983
dX0 | 0.36179 | -0.00064282 | -0.014395 | -0.012094 | -0.0028502 | -0.011251 | -0.0001458 | -0.01135 | -0.010444 | -0.013349 | -0.0049376 | -0.017742 | -0.007004 | -0.017054 | -0.018397 | -0.02223
dY0 | 5.9335 | 5.8928 | 5.8982 | 5.8914 | 5.8693 | 5.8579 | 5.8744 | 5.8518 | 5.8543 | 5.8573 | 5.8538 | 5.8686 | 5.8674 | 5.8613 | 5.8894 | 5.9282
dZ0(90) | 7.8124 | -0.13341 | 0.93979 | -0.10159 | -0.19013 | 0.38953 | -0.21604 | 0.008952 | -0.20577 | -0.056217 | -0.44019 | -0.22867 | 0.14327 | 0.23735 | -0.1111 | 0.19269
Rot(mRad)
Ladder # | 12
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5315 | 224.0368 | 267.5219 | 311.0037 | 354.4793 | 398.0325 | 441.4551 | 485.0392 | 528.5244 | 572.0162 | 615.4897 | 658.9827 | 702.5188 | 746.0139 | 789.4915 | 833.0331
dY0 | -0.095041 | -0.083636 | -0.093949 | -0.088899 | -0.10225 | -0.081493 | -0.10205 | -0.072291 | -0.075399 | -0.070046 | -0.062348 | -0.061699 | -0.046853 | -0.036247 | -0.027299 | -0.0025548
dZ0(90) | 6.0307 | 6.0115 | 5.9979 | 5.953 | 5.9698 | 5.9916 | 6.0024 | 5.9888 | 5.9713 | 5.9868 | 5.975 | 5.9823 | 5.9716 | 5.9845 | 6.0048 | 6.0298
Rot(mRad) | -0.31344 | -0.30737 | -0.099737 | -0.22514 | -0.24277 | -0.051896 | -0.03761 | -0.09942 | -0.069386 | -0.10835 | 0.23926 | 0.027061 | 0.036877 | -0.083365 | 0.083627 | 0.50883
Ladder # | 13
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.4805 | 223.9091 | 267.4889 | 311.0232 | 354.5121 | 398.0193 | 441.5109 | 484.9987 | 528.4792 | 571.9921 | 615.5168 | 659.0026 | 702.5247 | 746.0038 | 789.5371 | 833.0783
dY0 | -0.031654 | -0.040589 | -0.039994 | -0.01395 | -0.014001 | -0.017397 | -0.010451 | -0.01155 | -0.0064467 | -0.0027999 | 0.011102 | 0.0024973 | 0.016498 | 0.02665 | 0.025356 | 0.038653
dZ0(90) | 6.0406 | 6.0523 | 6.0298 | 5.9938 | 5.9885 | 6.0065 | 5.9808 | 5.9702 | 5.9818 | 5.9721 | 5.9624 | 5.9643 | 5.9966 | 6.0062 | 6.0097 | 6.0048
Rot(mRad) | -0.21158 | 0.12955 | 0.20745 | 0.069374 | -0.033103 | -0.11349 | -0.027138 | -0.077065 | 0.16447 | 0.091014 | -0.15288 | 0.23038 | -0.068745 | -0.027961 | -0.081011 | 0.18509
Ladder # | 14
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5272 | 224.0568 | 267.4712 | 311.036 | 354.5208 | 398.0649 | 441.5041 | 484.7843 | 528.5323 | 572.0154 | 615.5653 | 659.0617 | 702.5517 | 746.0844 | 789.6873 | 833.262
dY0 | 0.041249 | 0.043598 | 0.031467 | 0.041203 | 0.054434 | 0.044422 | 0.051155 | -0.10945 | 0.034502 | 0.054568 | 0.02126 | 0.034933 | 0.032887 | 0.038422 | 0.0036341 | 0.036764
dZ0(90) | 5.9378 | 5.9099 | 5.8902 | 5.8892 | 5.8812 | 5.8811 | 5.8593 | 5.8533 | 5.8344 | 5.8277 | 5.8864 | 5.8646 | 5.8727 | 5.8894 | 5.9134 | 5.9451
Rot(mRad) | 0.13274 | 0.15803 | 2.2085 | -0.02095 | 0.69466 | 0.42932 | 1.8186 | 8.0786 | -0.1077 | 2.151 | -0.099428 | 0.42192 | 0.18899 | -0.27684 | 1.0968 | 0.9357
Ladder # | 15
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.3629 | 224.0485 | 267.5543 | 311.0893 | 354.5641 | 398.0592 | 441.5409 | 485.0903 | 528.5677 | 572.0689 | 615.5724 | 659.0739 | 702.5772 | 746.078 | 789.5898 | 833.1878
dY0 | 0.029559 | 0.045702 | 0.044907 | 0.051819 | 0.062201 | 0.0626 | 0.063413 | 0.060378 | 0.06946 | 0.069525 | 0.055057 | 0.063509 | 0.062759 | 0.063096 | 0.051901 | 0.052238
dZ0(90) | 6.0058 | 6.0047 | 5.9829 | 6.0043 | 5.9914 | 5.999 | 6.0088 | 6.0048 | 6.0232 | 6 | 6.0248 | 6.0292 | 6.0248 | 6.0245 | 6.0333 | 6.0715
Rot(mRad) | 0.14227 | 0.062608 | -0.11611 | -0.32141 | -0.023778 | -0.032254 | -0.45163 | -0.23608 | -0.14288 | -0.28929 | -0.21228 | 0.034499 | 0.054696 | 0.018865 | -0.1465 | -0.028982
Ladder # | 16
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5064 | 224.0159 | 267.5138 | 311.0171 | 354.5298 | 398.0291 | 441.5203 | 485.024 | 528.5322 | 572.0338 | 615.5325 | 659.01 | 702.558 | 746.0163 | 789.5223 | 833.0455
dY0 | -0.037801 | -0.017397 | -0.013251 | -0.0018446 | -0.0082643 | 0.01 | 0.0027521 | 0.015403 | 0.020658 | 0.031154 | 0.0294 | 0.034457 | 0.039553 | 0.038601 | 0.059291 | 0.056845
dZ0(90) | 5.9716 | 5.9663 | 5.9529 | 5.945 | 5.9175 | 5.9637 | 5.9429 | 5.9302 | 5.9425 | 5.9418 | 5.9467 | 5.9684 | 5.9783 | 5.9603 | 5.9993 | 6.011
Rot(mRad) | 0.13342 | -0.071559 | -0.0025134 | -0.31405 | 0.38055 | 0.14213 | -0.32772 | -0.068588 | -0.21714 | 0.045412 | -0.0094782 | -0.34319 | -0.17358 | -0.017064 | 0.31552 | 0.15051
Ladder # | 17
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.4783 | 223.9766 | 267.5649 | 311.0876 | 354.6057 | 398.0016 | 441.4995 | 484.9912 | 528.493 | 571.9632 | 615.5132 | 658.9665 | 702.4935 | 745.9576 | 789.5389 | 833.0284
dY0 | -0.0712 | -0.082452 | -0.093756 | -0.093348 | -0.093639 | -0.07725 | -0.07515 | -0.099552 | -0.101 | -0.095842 | -0.10375 | -0.10619 | -0.1056 | -0.10944 | -0.10767 | -0.12089
dZ0(90) | 6.1815 | 6.1979 | 6.1674 | 6.1866 | 6.2114 | 6.2234 | 6.1813 | 6.193 | 6.2057 | 6.1692 | 6.1574 | 6.1415 | 6.1255 | 6.1314 | 6.1258 | 6.0864
Rot(mRad) | -0.073516 | -0.13118 | 0.071977 | -0.53607 | -0.12 | -0.057719 | 0.034501 | -0.16406 | -0.031592 | 0.33353 | 0.16548 | 0.17034 | 0.14045 | -0.98614 | 0.38782 | -0.29399
Ladder # | 18
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.4883 | 224.025 | 267.5111 | 310.9816 | 354.5117 | 398.0368 | 441.5123 | 484.9871 | 528.5289 | 572.0004 | 615.5124 | 659.0305 | 702.5279 | 746.0161 | 789.5372 | 833.085
dY0 | -0.07885 | -0.076102 | -0.066797 | -0.056351 | -0.0682 | -0.062 | -0.068002 | -0.068403 | -0.068896 | -0.06335 | -0.076201 | -0.080547 | -0.092951 | -0.082203 | -0.077786 | -0.099118
dZ0(90) | 5.8111 | 5.7013 | 5.6313 | 5.6162 | 5.5734 | 5.5529 | 5.5419 | 5.5514 | 5.5278 | 5.5727 | 5.5905 | 5.6189 | 5.6382 | 5.6868 | 5.8027 | 5.8254
Rot(mRad) | 0.10754 | 0.1444 | -0.097333 | 0.0099205 | -0.1082 | 0.11913 | 0.20943 | -0.1597 | -0.05523 | 0.047894 | -0.080575 | -0.055053 | -0.047336 | 0.11452 | -0.3584 | 0.20685
Ladder # | 19
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0
dY0
dZ0(90)
Rot(mRad)
Ladder # | 20
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.16 | 224.0254 | 267.4956 | 311.0354 | 354.4996 | 398.0103 | 441.5317 | 485.0103 | 528.5191 | 572.0111 | 615.5234 | 659.047 | 702.53 | 746.0261 | 789.5294 | 833.191
dY0 | 0.39387 | 0.0336 | 0.032805 | 0.041948 | 0.0603 | 0.056097 | 0.074151 | 0.068601 | 0.071406 | 0.06935 | 0.076659 | 0.067568 | 0.076748 | 0.063599 | 0.06161 | 0.050201
dZ0(90) | 5.9389 | 5.9005 | 5.9076 | 5.9026 | 5.8855 | 5.8745 | 5.8935 | 5.8742 | 5.8791 | 5.8842 | 5.8825 | 5.8929 | 5.8941 | 5.8841 | 5.9096 | 5.9439
Rot(mRad) | 8.0706 | 0.004458 | 1.0681 | -0.0041511 | -0.011362 | 0.50453 | -0.15714 | 0.10949 | -0.18825 | -0.070931 | -0.36261 | -0.21257 | 0.13407 | 0.11444 | -0.22989 | 0.052329
Ladder # | 21
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0
dY0
dZ0(90)
Rot(mRad)
Ladder # | 22
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.2773 | 223.9882 | 267.4908 | 310.9988 | 354.4376 | 397.9858 | 441.5206 | 484.972 | 528.4148 | 571.9283 | 615.4884 | 658.9867 | 702.4756 | 745.8148 | 789.4577 | 832.9988
dY0 | 0.059987 | 0.059801 | 0.069052 | 0.067251 | 0.082476 | 0.0777 | 0.083049 | 0.080153 | 0.066151 | 0.24474 | 0.075751 | 0.0844 | 0.086994 | 0.070239 | 0.083515 | 0.068601
dZ0(90) | 5.9484 | 5.9099 | 5.9123 | 5.9 | 5.8762 | 5.8854 | 5.8672 | 5.8558 | 5.8696 | 5.869 | 5.879 | 5.8977 | 5.8992 | 5.9154 | 5.9576 | 5.9574
Rot(mRad) | -3.3427 | 0.27498 | 0.16741 | 0.068268 | -0.47323 | -0.029391 | 0.068755 | 0.15402 | -0.038958 | 0.016571 | 0.079698 | 0.059083 | -0.24831 | 0.026306 | 0.30799 | 0.082196
Ladder # | 23
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5338 | 223.9474 | 267.5144 | 310.9094 | 354.5976 | 398.0233 | 441.5241 | 485.0078 | 528.4985 | 572.0305 | 615.5105 | 659.0064 | 702.3968 | 745.9745 | 789.4288 | 832.9992
dY0 | -0.098391 | -0.19541 | -0.19541 | -0.19895 | -0.21886 | -0.23425 | -0.25289 | -0.25625 | -0.2661 | -0.28903 | -0.29845 | -0.3238 | -0.34227 | -0.3588 | -0.36943 | -0.3818
dZ0(90) | 5.9918 | 6.01 | 5.9783 | 5.9503 | 5.9772 | 5.9736 | 5.9785 | 5.9888 | 5.9787 | 5.9779 | 5.991 | 5.9897 | 6.0199 | 6.0218 | 6.0141 | 6.0325
Rot(mRad) | -0.35001 | 0.0090051 | -0.27103 | -1.419 | -0.45531 | -0.11545 | -0.30958 | -0.42161 | -0.45587 | -0.39184 | -0.15985 | -0.4949 | -0.59494 | 0.0068934 | -0.99679 | -0.26573
Ladder # | 24
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.501 | 223.999 | 267.5163 | 311.0166 | 354.5261 | 397.9774 | 441.5077 | 485.0187 | 528.5235 | 572.0298 | 615.4827 | 658.9946 | 702.5009 | 746.0059 | 789.4995 | 832.9986
dY0 | -0.0175 | -0.0086988 | 0.0030984 | -0.0036552 | 0.00083898 | 0.0042984 | 0.0030976 | 0.0065002 | 0.008699 | 0.016147 | 0.022 | 0.0232 | 0.02595 | 0.021498 | 0.02915 | 0.0331
dZ0(90) | 5.9843 | 5.9798 | 5.9813 | 5.936 | 5.9268 | 5.9394 | 5.9231 | 5.8894 | 5.927 | 5.9239 | 5.9449 | 5.9392 | 5.9477 | 5.9512 | 5.9572 | 5.9909
Rot(mRad) | 0.19654 | 0.17684 | 0.032359 | 0.25074 | 0.2143 | -0.0031121 | 0.14539 | 0.048122 | 0.0036338 | 0.22572 | -0.010339 | 0.019588 | -0.24273 | 0.27787 | 0.10645 | 0.086155
Ladder # | 25
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 180.5028 | 224.0253 | 267.5293 | 310.9973 | 354.5212 | 398.0123 | 441.5567 | 485.0349 | 528.5454 | 571.9989 | 615.5227 | 659.0671 | 702.5214 | 746.0272 | 789.5135 | 833.0358
dY0 | -0.079301 | -0.065747 | -0.059998 | -0.081503 | -0.064147 | -0.05909 | -0.062494 | -0.062393 | -0.061859 | -0.049401 | -0.051499 | -0.051615 | -0.045403 | -0.032805 | -0.037399 | 0.0075347
dZ0(90) | 5.9332 | 5.9519 | 5.9077 | 5.7978 | 5.8701 | 5.8825 | 5.8611 | 5.868 | 5.8558 | 5.86 | 5.8691 | 5.8792 | 5.8911 | 5.879 | 5.9509 | 5.993
Rot(mRad) | 0.11328 | -0.060677 | -0.065898 | -0.32354 | -0.12513 | -0.44611 | -0.092761 | -0.24249 | 0.011917 | -0.1496 | -0.05012 | -0.28917 | 0.20953 | -0.014697 | -0.044852 | -0.95608

## deltas
The following list shows deltas; the change in location of the center of each wafer from its nominal position. The origin (0,0,0) is at the pin where it meets the mount on the OSC
Units are millimeters and mRadians |  |  |  |  | Z Reference is 6.000 mm |  |  |  | Note: *** These are Ladder ID numbers, not their geographic location on the detector ***
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
Xreference | 180.5 | 224 | 267.5 | 311 | 354.5 | 398 | 441.5 | 485 | 528.5 | 572 | 615.5 | 659 | 702.5 | 746 | 789.5 | 833
YReference | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Zreference | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Ladder # | 1
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.019887 | 0.0099126 | 0.037628 | 0.0016021 | 0.021146 | 0.024872 | 0.030475 | 0.056638 | -0.026034 | 0.023145 | 0.016513 | 0.049942 | 0.082517 | 0.2026 | 0.17537 | -0.024288
dY0 | 0.1782 | 0.2121 | 0.21028 | 0.2371 | 0.2302 | 0.25485 | 0.2578 | 0.2575 | 0.25565 | 0.2672 | 0.29515 | 0.26965 | 0.28128 | 0.29933 | 0.25947 | 0.29706
dZ0(90) | -1.9979 | -2.0132 | -2.0194 | -2.0287 | -2.0343 | -2.048 | -2.0433 | -2.0478 | -2.0606 | -2.049 | -2.0504 | -2.0256 | -2.0163 | -2.0033 | -1.9982 | -1.788
Rot(mRad) | 0.32021 | 0.12632 | 0.71379 | 0.18999 | 0.01481 | 0.11535 | -0.041311 | 0.20271 | 0.25736 | 0.32369 | -0.0027287 | -0.0028348 | 0.26066 | -0.24908 | 0.058961 | 0.41692
Ladder # | 2
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.0047863 | 0.008108 | 0.020993 | 0.00094247 | 0.0032376 | 0.019607 | 0.0011051 | -0.0050431 | 0.0062228 | 0.0015284 | 0.013116 | 0.0038334 | 0.13388 | 0.021607 | 0.01753 | 0.032112
dY0 | -0.00465 | 0.02915 | 0.031493 | 0.05375 | 0.0522 | 0.056104 | 0.074551 | 0.0798 | 0.091952 | 0.092051 | 0.10615 | 0.1073 | 0.12518 | 0.10905 | 0.13115 | 0.1349
dZ0(90) | -0.093784 | -0.14291 | -0.18251 | -0.23637 | -0.21694 | -0.25121 | -0.26171 | -0.25547 | -0.25984 | -0.25981 | -0.26721 | -0.2289 | -0.20972 | -0.18615 | -0.13686 | -0.10768
Rot(mRad) | -0.12464 | 0.26385 | 0.20299 | -0.0073472 | -0.10198 | -0.14562 | 0.25367 | -0.0023959 | -0.06565 | -0.0015823 | -0.1233 | 0.044278 | 0.1415 | -0.067425 | 0.32754 | -0.020035
Ladder # | 3
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.065636 | 0.06504 | 0.077946 | 0.02785 | 0.057802 | 0.064955 | 0.072743 | 0.07655 | 0.23763 | 0.053846 | 0.062726 | 0.043472 | 0.072205 | 0.12396 | 0.15486 | 0.18029
dY0 | 0.052173 | 0.053392 | 0.067431 | 0.079393 | 0.096385 | 0.10169 | 0.12181 | 0.12534 | 0.15359 | 0.14804 | 0.18481 | 0.17522 | 0.19571 | 0.20955 | 0.24203 | 0.26851
dZ0(90) | -0.0040864 | -0.04919 | -0.018087 | -0.059696 | -0.027618 | -0.054559 | -0.082281 | -0.058381 | -0.051896 | -0.055238 | -0.035915 | -0.062022 | -0.04091 | -0.048784 | -0.03623 | -0.015241
Rot(mRad) | 0.36763 | 0.2055 | 0.24359 | 0.42682 | 0.16622 | 0.25221 | -0.11471 | 0.97674 | 0.51959 | 0.30699 | 0.79423 | 0.7018 | 0.5161 | 1.7685 | 0.99907 | 1.0859
Ladder # | 4
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.013184 | 0.010096 | -0.0019217 | -0.014743 | 0.030991 | 0.052906 | 0.0020979 | -0.015443 | 0.015842 | 0.22137 | 0.20841 | 0.14228 | 0.030743 | 0.060997 | 0.041639 | 0.025546
dY0 | -0.05525 | -0.053299 | -0.043651 | -0.036252 | -0.016393 | -0.023981 | -0.024349 | 0.0004471 | 0.0087528 | 0.013442 | 0.024555 | 0.02931 | 0.036103 | 0.047835 | 0.03884 | 0.055244
dZ0(90) | -0.01735 | -0.013508 | -0.032696 | -0.061359 | -0.064314 | -0.088038 | -0.065654 | -0.081496 | -0.078007 | -0.087222 | -0.10532 | -0.054585 | -0.056621 | -0.052778 | -0.011108 | 0.0019377
Rot(mRad) | 0.025311 | 0.084087 | -0.15598 | 0.014784 | -0.27274 | 0.54868 | 0.082481 | -0.079071 | -0.14372 | -0.1055 | -0.17642 | -0.058273 | -0.0095975 | 0.21924 | 0.23311 | 0.28763
Ladder # | 5
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.034972 | 0.030256 | 0.064872 | 0.05466 | 0.022976 | 0.08367 | -0.0055574 | 0.026545 | 0.026029 | 0.017503 | 0.0061972 | 0.064731 | 0.018505 | 0.036042 | 0.056244 | 0.054876
dY0 | 0.0081417 | 0.010605 | -0.01581 | -0.017296 | -0.021844 | -0.031491 | -0.0296 | -0.041195 | -0.0737 | -0.070349 | -0.067049 | -0.082796 | -0.064603 | -0.083857 | -0.11496 | -0.11054
dZ0(90) | -0.04214 | -0.061746 | -0.046468 | -0.088229 | -0.10335 | -0.094617 | -0.094616 | -0.10774 | -0.10467 | -0.12149 | -0.094544 | -0.10166 | -0.096239 | -0.089025 | -0.080472 | -0.05676
Rot(mRad) | 0.024352 | -0.16506 | -0.017857 | -0.15879 | -0.1879 | 0.053664 | 0.0072253 | -0.056203 | -0.012014 | -0.035471 | -0.16348 | -0.025589 | 0.14895 | 0.18653 | 0.11905 | -0.16169
Ladder # | 6
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.057271 | 0.12547 | 0.12525 | 0.12804 | 0.1117 | 0.12744 | 0.15588 | 0.14569 | 0.12865 | 0.14079 | 0.16643 | -0.036802 | 0.18055 | 0.18051 | -0.11325 | 0.189
dY0 | -0.11122 | -0.1263 | -0.14667 | -0.1679 | -0.18843 | -0.20269 | -0.21291 | -0.21128 | -0.23867 | -0.23415 | -0.24329 | -0.28067 | -0.26925 | -0.23838 | -0.25198 | -0.26246
dZ0(90) | 0.22089 | 0.22839 | 0.23587 | 0.25925 | 0.28949 | 0.3015 | 0.29498 | 0.28714 | 0.3081 | 0.27316 | 0.24892 | 0.24859 | 0.26224 | 0.24664 | 0.21189 | 0.19241
Rot(mRad) | -0.48013 | -0.33628 | -0.42306 | -0.28668 | -0.31284 | -0.39868 | -0.35917 | -0.39314 | -0.31051 | -0.32099 | -0.06131 | 0.75202 | -0.224 | -0.11842 | 0.090868 | 0.1453
Ladder # | 7
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0
dY0
dZ0(90)
Rot(mRad)
Ladder # | 8
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.04823 | 0.040518 | 0.033442 | 0.05091 | 0.036145 | 0.045295 | 0.044581 | 0.043522 | 0.021128 | 0.032859 | 0.034719 | 0.0090242 | 0.046453 | 0.045424 | 0.054097 | 0.058928
dY0 | 0.0067417 | 0.015897 | 0.040049 | 0.05605 | 0.076991 | 0.088039 | 0.099739 | 0.11129 | 0.125 | 0.14555 | 0.16554 | 0.17715 | 0.20019 | 0.21494 | 0.22785 | 0.24064
dZ0(90) | -0.33886 | -0.32418 | -0.351 | -0.35613 | -0.34603 | -0.35135 | -0.34183 | -0.32219 | -0.30014 | -0.28979 | -0.26582 | -0.27213 | -0.26004 | -0.18032 | -0.16705 | -0.11814
Rot(mRad) | 0.12718 | 0.24322 | -0.019216 | 0.18155 | 0.20793 | 0.26066 | 0.090787 | 0.31401 | 0.10563 | 0.11415 | 0.1949 | 0.52376 | 0.26159 | 0.10824 | 0.048604 | 0.2305
Ladder # | 9
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.0093525 | 0.028824 | 0.0067097 | -0.036947 | 0.029047 | 0.010775 | 0.0119 | -0.0063368 | -0.011926 | 0.017628 | 0.028871 | 0.011529 | 0.012931 | 0.0071723 | 0.0087709 | 0.056729
dY0 | -0.0406 | -0.040893 | -0.023501 | 0.042793 | -0.02345 | -0.004745 | -0.014999 | -0.017005 | -0.017201 | -0.0014499 | -0.0037541 | -0.0070482 | -0.0078987 | -0.0026487 | 0.0068008 | 0.0086464
dZ0(90) | -0.091395 | -0.11203 | -0.16191 | -0.16376 | -0.17484 | -0.18365 | -0.21058 | -0.21002 | -0.20845 | -0.19995 | -0.17979 | -0.17077 | -0.12754 | -0.13087 | -0.10583 | -0.064953
Rot(mRad) | 0.11538 | -0.21323 | 0.24876 | -0.10567 | -0.15716 | -0.37296 | 0.0084586 | -0.28628 | -0.11302 | 0.14404 | 0.21787 | -0.042456 | -0.25774 | -0.16293 | -0.085188 | 0.019703
Ladder # | 10
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.051587 | -0.013763 | -0.012426 | -0.0087818 | -0.012823 | -0.014147 | -0.022604 | -0.029275 | -0.018357 | -0.018539 | -0.018717 | -0.025184 | -0.016426 | -0.019932 | -0.02807 | -0.0066073
dY0 | -0.12646 | -0.064549 | -0.074746 | -0.060251 | -0.039447 | -0.048949 | -0.029645 | -0.014383 | -0.0086501 | 0.019301 | 0.028048 | 0.043156 | 0.055807 | 0.085109 | 0.078158 | 0.116
dZ0(90) | -0.094753 | -0.10047 | -0.14211 | -0.16948 | -0.18437 | -0.17862 | -0.19378 | -0.18607 | -0.20136 | -0.18707 | -0.16893 | -0.14869 | -0.16578 | -0.1504 | -0.1039 | -0.076601
Rot(mRad) | 0.10574 | 0.085598 | 0.17012 | -0.062126 | 0.23933 | 0.084226 | 0.1486 | 0.40065 | -0.015108 | 0.20812 | -0.096329 | 0.34872 | 0.27563 | 0.4382 | 0.19681 | 0.2973
11
Ladder # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
Wafer # | -0.33566 | 0.027329 | -0.0027296 | 0.035687 | 0.00091491 | 0.013411 | 0.036915 | 0.012586 | 0.022417 | 0.014972 | 0.02772 | 0.051862 | 0.033471 | 0.030211 | 0.032731 | 0.19831
dX0 | 0.36179 | -0.00064282 | -0.014395 | -0.012094 | -0.0028502 | -0.011251 | -0.0001458 | -0.01135 | -0.010444 | -0.013349 | -0.0049376 | -0.017742 | -0.007004 | -0.017054 | -0.018397 | -0.02223
dY0 | -0.066471 | -0.10718 | -0.10176 | -0.10859 | -0.13069 | -0.14208 | -0.12564 | -0.14816 | -0.1457 | -0.1427 | -0.14616 | -0.13143 | -0.13264 | -0.13867 | -0.11058 | -0.071813
dZ0(90) | 7.8124 | -0.13341 | 0.93979 | -0.10159 | -0.19013 | 0.38953 | -0.21604 | 0.008952 | -0.20577 | -0.056217 | -0.44019 | -0.22867 | 0.14327 | 0.23735 | -0.1111 | 0.19269
Rot(mRad)
Ladder # | 12
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.031503 | 0.036756 | 0.021895 | 0.003706 | -0.020746 | 0.032533 | -0.044896 | 0.039193 | 0.024362 | 0.016237 | -0.010257 | -0.01733 | 0.018784 | 0.01386 | -0.0084592 | 0.033073
dY0 | -0.095041 | -0.083636 | -0.093949 | -0.088899 | -0.10225 | -0.081493 | -0.10205 | -0.072291 | -0.075399 | -0.070046 | -0.062348 | -0.061699 | -0.046853 | -0.036247 | -0.027299 | -0.0025548
dZ0(90) | 0.030694 | 0.011522 | -0.0020619 | -0.047031 | -0.030155 | -0.0083782 | 0.002449 | -0.011203 | -0.028747 | -0.013229 | -0.024981 | -0.01773 | -0.028412 | -0.015541 | 0.0047721 | 0.029801
Rot(mRad) | -0.31344 | -0.30737 | -0.099737 | -0.22514 | -0.24277 | -0.051896 | -0.03761 | -0.09942 | -0.069386 | -0.10835 | 0.23926 | 0.027061 | 0.036877 | -0.083365 | 0.083627 | 0.50883
Ladder # | 13
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | -0.019478 | -0.090862 | -0.011122 | 0.023242 | 0.012058 | 0.019317 | 0.010857 | -0.0012991 | -0.020772 | -0.0078859 | 0.01677 | 0.0026015 | 0.024713 | 0.0037707 | 0.03707 | 0.078307
dY0 | -0.031654 | -0.040589 | -0.039994 | -0.01395 | -0.014001 | -0.017397 | -0.010451 | -0.01155 | -0.0064467 | -0.0027999 | 0.011102 | 0.0024973 | 0.016498 | 0.02665 | 0.025356 | 0.038653
dZ0(90) | 0.040602 | 0.052306 | 0.029819 | -0.0062322 | -0.01148 | 0.0064854 | -0.019151 | -0.029824 | -0.018185 | -0.027889 | -0.037595 | -0.035737 | -0.0033863 | 0.0061677 | 0.0097054 | 0.0048435
Rot(mRad) | -0.21158 | 0.12955 | 0.20745 | 0.069374 | -0.033103 | -0.11349 | -0.027138 | -0.077065 | 0.16447 | 0.091014 | -0.15288 | 0.23038 | -0.068745 | -0.027961 | -0.081011 | 0.18509
Ladder # | 14
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.027163 | 0.056821 | -0.02884 | 0.035956 | 0.020802 | 0.064922 | 0.0040996 | -0.21573 | 0.032254 | 0.015394 | 0.065327 | 0.061731 | 0.051678 | 0.084391 | 0.18729 | 0.26199
dY0 | 0.041249 | 0.043598 | 0.031467 | 0.041203 | 0.054434 | 0.044422 | 0.051155 | -0.10945 | 0.034502 | 0.054568 | 0.02126 | 0.034933 | 0.032887 | 0.038422 | 0.0036341 | 0.036764
dZ0(90) | -0.062174 | -0.090093 | -0.10983 | -0.11085 | -0.11878 | -0.11894 | -0.14073 | -0.14674 | -0.16564 | -0.17228 | -0.11364 | -0.13535 | -0.12726 | -0.1106 | -0.086587 | -0.054859
Rot(mRad) | 0.13274 | 0.15803 | 2.2085 | -0.02095 | 0.69466 | 0.42932 | 1.8186 | 8.0786 | -0.1077 | 2.151 | -0.099428 | 0.42192 | 0.18899 | -0.27684 | 1.0968 | 0.9357
Ladder # | 15
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | -0.13707 | 0.048531 | 0.054338 | 0.089327 | 0.064141 | 0.059227 | 0.04086 | 0.09033 | 0.067676 | 0.068867 | 0.072431 | 0.073931 | 0.077175 | 0.07803 | 0.089821 | 0.18777
dY0 | 0.029559 | 0.045702 | 0.044907 | 0.051819 | 0.062201 | 0.0626 | 0.063413 | 0.060378 | 0.06946 | 0.069525 | 0.055057 | 0.063509 | 0.062759 | 0.063096 | 0.051901 | 0.052238
dZ0(90) | 0.0057994 | 0.0047087 | -0.017053 | 0.0042936 | -0.0085688 | -0.0010365 | 0.0087573 | 0.0047921 | 0.02315 | 3.4122e-05 | 0.024833 | 0.029175 | 0.024774 | 0.024484 | 0.033309 | 0.071473
Rot(mRad) | 0.14227 | 0.062608 | -0.11611 | -0.32141 | -0.023778 | -0.032254 | -0.45163 | -0.23608 | -0.14288 | -0.28929 | -0.21228 | 0.034499 | 0.054696 | 0.018865 | -0.1465 | -0.028982
Ladder # | 16
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.0063952 | 0.015944 | 0.013829 | 0.017088 | 0.029827 | 0.029087 | 0.0203 | 0.024013 | 0.032225 | 0.03383 | 0.032485 | 0.0099619 | 0.058008 | 0.016299 | 0.022263 | 0.045495
dY0 | -0.037801 | -0.017397 | -0.013251 | -0.0018446 | -0.0082643 | 0.01 | 0.0027521 | 0.015403 | 0.020658 | 0.031154 | 0.0294 | 0.034457 | 0.039553 | 0.038601 | 0.059291 | 0.056845
dZ0(90) | -0.02838 | -0.033736 | -0.047085 | -0.055028 | -0.082458 | -0.036318 | -0.057123 | -0.069786 | -0.057517 | -0.058193 | -0.053329 | -0.031628 | -0.021691 | -0.039725 | -0.00068282 | 0.010967
Rot(mRad) | 0.13342 | -0.071559 | -0.0025134 | -0.31405 | 0.38055 | 0.14213 | -0.32772 | -0.068588 | -0.21714 | 0.045412 | -0.0094782 | -0.34319 | -0.17358 | -0.017064 | 0.31552 | 0.15051
Ladder # | 17
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | -0.021695 | -0.023389 | 0.064879 | 0.087626 | 0.10571 | 0.0015902 | -0.00054543 | -0.0088404 | -0.0070254 | -0.036788 | 0.013198 | -0.033489 | -0.0065287 | -0.042393 | 0.038875 | 0.028423
dY0 | -0.0712 | -0.082452 | -0.093756 | -0.093348 | -0.093639 | -0.07725 | -0.07515 | -0.099552 | -0.101 | -0.095842 | -0.10375 | -0.10619 | -0.1056 | -0.10944 | -0.10767 | -0.12089
dZ0(90) | 0.18148 | 0.19793 | 0.16744 | 0.18659 | 0.21139 | 0.22344 | 0.18125 | 0.19303 | 0.20569 | 0.1692 | 0.15742 | 0.14146 | 0.12548 | 0.13138 | 0.12582 | 0.086403
Rot(mRad) | -0.073516 | -0.13118 | 0.071977 | -0.53607 | -0.12 | -0.057719 | 0.034501 | -0.16406 | -0.031592 | 0.33353 | 0.16548 | 0.17034 | 0.14045 | -0.98614 | 0.38782 | -0.29399
Ladder # | 18
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | -0.011694 | 0.025032 | 0.011064 | -0.018386 | 0.011693 | 0.036778 | 0.012272 | -0.012917 | 0.028861 | 0.00036836 | 0.012449 | 0.030476 | 0.027947 | 0.016134 | 0.037159 | 0.084994
dY0 | -0.07885 | -0.076102 | -0.066797 | -0.056351 | -0.0682 | -0.062 | -0.068002 | -0.068403 | -0.068896 | -0.06335 | -0.076201 | -0.080547 | -0.092951 | -0.082203 | -0.077786 | -0.099118
dZ0(90) | -0.18894 | -0.29873 | -0.36873 | -0.3838 | -0.42665 | -0.44712 | -0.45812 | -0.44862 | -0.47225 | -0.42732 | -0.40947 | -0.38109 | -0.36175 | -0.31323 | -0.19727 | -0.17457
Rot(mRad) | 0.10754 | 0.1444 | -0.097333 | 0.0099205 | -0.1082 | 0.11913 | 0.20943 | -0.1597 | -0.05523 | 0.047894 | -0.080575 | -0.055053 | -0.047336 | 0.11452 | -0.3584 | 0.20685
Ladder # | 19
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0
dY0
dZ0(90)
Rot(mRad)
Ladder # | 20
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | -0.34 | 0.025372 | -0.004434 | 0.035428 | -0.00040071 | 0.01026 | 0.031689 | 0.010322 | 0.019145 | 0.011124 | 0.023403 | 0.047015 | 0.030039 | 0.026093 | 0.029444 | 0.191
dY0 | 0.39387 | 0.0336 | 0.032805 | 0.041948 | 0.0603 | 0.056097 | 0.074151 | 0.068601 | 0.071406 | 0.06935 | 0.076659 | 0.067568 | 0.076748 | 0.063599 | 0.06161 | 0.050201
dZ0(90) | -0.061068 | -0.099547 | -0.092356 | -0.0974 | -0.11451 | -0.12553 | -0.10653 | -0.12578 | -0.12092 | -0.11582 | -0.1175 | -0.10708 | -0.10589 | -0.1159 | -0.090391 | -0.056098
Rot(mRad) | 8.0706 | 0.004458 | 1.0681 | -0.0041511 | -0.011362 | 0.50453 | -0.15714 | 0.10949 | -0.18825 | -0.070931 | -0.36261 | -0.21257 | 0.13407 | 0.11444 | -0.22989 | 0.052329
Ladder # | 21
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0
dY0
dZ0(90)
Rot(mRad)
Ladder # | 22
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | -0.22268 | -0.011755 | -0.0091595 | -0.0012098 | -0.062436 | -0.014217 | 0.020649 | -0.027988 | -0.085217 | -0.071696 | -0.011551 | -0.013281 | -0.024378 | -0.1852 | -0.042259 | -0.0011515
dY0 | 0.059987 | 0.059801 | 0.069052 | 0.067251 | 0.082476 | 0.0777 | 0.083049 | 0.080153 | 0.066151 | 0.24474 | 0.075751 | 0.0844 | 0.086994 | 0.070239 | 0.083515 | 0.068601
dZ0(90) | -0.051557 | -0.090065 | -0.087747 | -0.099951 | -0.12382 | -0.11458 | -0.13277 | -0.14419 | -0.13043 | -0.13096 | -0.12098 | -0.10229 | -0.10076 | -0.084617 | -0.042389 | -0.042633
Rot(mRad) | -3.3427 | 0.27498 | 0.16741 | 0.068268 | -0.47323 | -0.029391 | 0.068755 | 0.15402 | -0.038958 | 0.016571 | 0.079698 | 0.059083 | -0.24831 | 0.026306 | 0.30799 | 0.082196
Ladder # | 23
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.033779 | -0.052645 | 0.014366 | -0.090557 | 0.097602 | 0.023327 | 0.024123 | 0.0077685 | -0.0014756 | 0.030531 | 0.010519 | 0.0064489 | -0.10316 | -0.02546 | -0.071202 | -0.00079716
dY0 | -0.098391 | -0.19541 | -0.19541 | -0.19895 | -0.21886 | -0.23425 | -0.25289 | -0.25625 | -0.2661 | -0.28903 | -0.29845 | -0.3238 | -0.34227 | -0.3588 | -0.36943 | -0.3818
dZ0(90) | -0.0082343 | 0.010002 | -0.021654 | -0.049652 | -0.022813 | -0.02644 | -0.021454 | -0.011166 | -0.021265 | -0.022098 | -0.0089945 | -0.010279 | 0.019853 | 0.021835 | 0.014068 | 0.032531
Rot(mRad) | -0.35001 | 0.0090051 | -0.27103 | -1.419 | -0.45531 | -0.11545 | -0.30958 | -0.42161 | -0.45587 | -0.39184 | -0.15985 | -0.4949 | -0.59494 | 0.0068934 | -0.99679 | -0.26573
Ladder # | 24
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.0010401 | -0.0010295 | 0.016329 | 0.016614 | 0.026087 | -0.022614 | 0.0076866 | 0.018743 | 0.023529 | 0.029804 | -0.017343 | -0.0053567 | 0.00088063 | 0.0058646 | -0.00052533 | -0.0014115
dY0 | -0.0175 | -0.0086988 | 0.0030984 | -0.0036552 | 0.00083898 | 0.0042984 | 0.0030976 | 0.0065002 | 0.008699 | 0.016147 | 0.022 | 0.0232 | 0.02595 | 0.021498 | 0.02915 | 0.0331
dZ0(90) | -0.015683 | -0.020243 | -0.018689 | -0.064022 | -0.073159 | -0.060645 | -0.076886 | -0.1106 | -0.073029 | -0.076095 | -0.055149 | -0.060759 | -0.052267 | -0.04875 | -0.042783 | -0.0091077
Rot(mRad) | 0.19654 | 0.17684 | 0.032359 | 0.25074 | 0.2143 | -0.0031121 | 0.14539 | 0.048122 | 0.0036338 | 0.22572 | -0.010339 | 0.019588 | -0.24273 | 0.27787 | 0.10645 | 0.086155
Ladder # | 25
Wafer # | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
dX0 | 0.0028057 | 0.025276 | 0.029304 | -0.0027288 | 0.021151 | 0.012288 | 0.056677 | 0.034902 | 0.045371 | -0.0011208 | 0.022703 | 0.067103 | 0.021391 | 0.027172 | 0.01353 | 0.035751
dY0 | -0.079301 | -0.065747 | -0.059998 | -0.081503 | -0.064147 | -0.05909 | -0.062494 | -0.062393 | -0.061859 | -0.049401 | -0.051499 | -0.051615 | -0.045403 | -0.032805 | -0.037399 | 0.0075347
dZ0(90) | -0.066839 | -0.048066 | -0.092321 | -0.20221 | -0.12994 | -0.11754 | -0.13891 | -0.13199 | -0.14419 | -0.13996 | -0.1309 | -0.12077 | -0.10888 | -0.12096 | -0.04911 | -0.0070206
Rot(mRad) | 0.11328 | -0.060677 | -0.065898 | -0.32354 | -0.12513 | -0.44611 | -0.092761 | -0.24249 | 0.011917 | -0.1496 | -0.05012 | -0.28917 | 0.20953 | -0.014697 | -0.044852 | -0.95608

## Plots
Units are millimeters | ZRef is 6.000 mm
Ladder #1
Ladder #2
Ladder #3
Ladder #4
Ladder #5
Ladder #6
Ladder #7
Ladder #8
Ladder #9
Ladder #10
Ladder #11
Ladder #12
Ladder #13
Ladder #14
Ladder #15
Ladder #16
Ladder #17
Ladder #18
Ladder #19
Ladder #20
Ladder #21
Ladder #22
Ladder #23
Ladder #24
Ladder #25