## Feuil1
Ladder to HV/LV channel matching table
Ladders :
Each ladder needs +2V,-2V and +5V on each side. The HV is brought to the ladder from one side
The East side for the ladders 1 to 10 and from the West side for the ladders 11 to 20
Patch panels :
The are two patch panels serving the East and the West side.
Cables from the ladders (round) and from the CAEN boards (rectangular) are mixed on the patch panels.
The output connectors are for the ladder cables
The input connectors are for the cables from the CAEN modules
Sorted by ladder | [9 empty] | Sorted by CAEN channel
0 | ladder |  |  | patch panel |  |  | caen sy527 |  |  | 0 | ladder |  |  | patch panel |  |  | caen sy527
1 | number | side | Voltage | side | out | in | crate | board | channel | 1 | number | side | Voltage | side | out | in | crate | board | channel
2 | 1 | P | +2V | East | E01 | E1A | 1 | 1 | 0 | 157 | 20 |  | HV | West | W20 | WHT | 1 | 0 | 0
3 | 1 | P | -2V | East | E01 | E1B | 1 | 1 | 4 | 149 | 19 |  | HV | West | W19 | WHT | 1 | 0 | 1
4 | 1 | P | +5V | East | E01 | E1C | 1 | 4 | 0 | 101 | 13 |  | HV | West | W13 | WHT | 1 | 0 | 2
5 | 1 |  | HV | East | E01 | EHT | 1 | 0 | 9 | 93 | 12 |  | HV | West | W12 | WHT | 1 | 0 | 3
6 | 1 | N | +2V | West | W01 | W2A | 1 | 8 | 0 | 85 | 11 |  | HV | West | W11 | WHT | 1 | 0 | 4
7 | 1 | N | -2V | West | W01 | W2B | 1 | 8 | 4 | 77 | 10 |  | HV | East | E10 | EHT | 1 | 0 | 5
8 | 1 | N | +5V | West | W01 | W2C | 1 | 6 | 4 | 69 | 9 |  | HV | East | E09 | EHT | 1 | 0 | 6
9 | [9 empty] | 21 | 3 |  | HV | East | E03 | EHT | 1 | 0 | 7
10 | 2 | P | +2V | East | E02 | E1A | 1 | 1 | 1 | 13 | 2 |  | HV | East | E02 | EHT | 1 | 0 | 8
11 | 2 | P | -2V | East | E02 | E1B | 1 | 1 | 5 | 5 | 1 |  | HV | East | E01 | EHT | 1 | 0 | 9
12 | 2 | P | +5V | East | E02 | E1C | 1 | 4 | 1 | 2 | 1 | P | +2V | East | E01 | E1A | 1 | 1 | 0
13 | 2 |  | HV | East | E02 | EHT | 1 | 0 | 8 | 10 | 2 | P | +2V | East | E02 | E1A | 1 | 1 | 1
14 | 2 | N | +2V | West | W02 | W2A | 1 | 8 | 1 | 18 | 3 | P | +2V | East | E03 | E1A | 1 | 1 | 2
15 | 2 | N | -2V | West | W02 | W2B | 1 | 8 | 5 | 26 | 4 | P | +2V | East | E04 | E1A | 1 | 1 | 3
16 | 2 | N | +5V | West | W02 | W2C | 1 | 6 | 5 | 3 | 1 | P | -2V | East | E01 | E1B | 1 | 1 | 4
17 | [9 empty] | 11 | 2 | P | -2V | East | E02 | E1B | 1 | 1 | 5
18 | 3 | P | +2V | East | E03 | E1A | 1 | 1 | 2 | 19 | 3 | P | -2V | East | E03 | E1B | 1 | 1 | 6
19 | 3 | P | -2V | East | E03 | E1B | 1 | 1 | 6 | 27 | 4 | P | -2V | East | E04 | E1B | 1 | 1 | 7
20 | 3 | P | +5V | East | E03 | E1C | 1 | 4 | 2 | 82 | 11 | P | +2V | East | E11 | E2A | 1 | 2 | 0
21 | 3 |  | HV | East | E03 | EHT | 1 | 0 | 7 | 90 | 12 | P | +2V | East | E12 | E2A | 1 | 2 | 1
22 | 3 | N | +2V | West | W03 | W2A | 1 | 8 | 2 | 98 | 13 | P | +2V | East | E13 | E2A | 1 | 2 | 2
23 | 3 | N | -2V | West | W03 | W2B | 1 | 8 | 6 | 106 | 14 | P | +2V | East | E14 | E2A | 1 | 2 | 3
24 | 3 | N | +5V | West | W03 | W2C | 1 | 6 | 6 | 83 | 11 | P | -2V | East | E11 | E2B | 1 | 2 | 4
25 | [9 empty] | 91 | 12 | P | -2V | East | E12 | E2B | 1 | 2 | 5
26 | 4 | P | +2V | East | E04 | E1A | 1 | 1 | 3 | 99 | 13 | P | -2V | East | E13 | E2B | 1 | 2 | 6
27 | 4 | P | -2V | East | E04 | E1B | 1 | 1 | 7 | 107 | 14 | P | -2V | East | E14 | E2B | 1 | 2 | 7
28 | 4 | P | +5V | East | E04 | E1C | 1 | 4 | 3 | 66 | 9 | P | +2V | East | E09 | E5A | 1 | 3 | 0
29 | 4 |  | HV | [6 empty] | 74 | 10 | P | +2V | East | E10 | E5A | 1 | 3 | 1
30 | 4 | N | +2V | West | W04 | W2A | 1 | 8 | 3 | 146 | 19 | P | +2V | East | E19 | E5A | 1 | 3 | 2
31 | 4 | N | -2V | West | W04 | W2B | 1 | 8 | 7 | 154 | 20 | P | +2V | East | E20 | E5A | 1 | 3 | 3
32 | 4 | N | +5V | West | W04 | W2C | 1 | 6 | 7 | 67 | 9 | P | -2V | East | E09 | E5B | 1 | 3 | 4
33 | [9 empty] | 75 | 10 | P | -2V | East | E10 | E5B | 1 | 3 | 5
34 | 5 | P | +2V | East | E05 | E3A |  |  |  | 147 | 19 | P | -2V | East | E19 | E5B | 1 | 3 | 6
35 | 5 | P | -2V | East | E05 | E3B |  |  |  | 155 | 20 | P | -2V | East | E20 | E5B | 1 | 3 | 7
36 | 5 | P | +5V | East | E05 | E3C |  |  |  | 4 | 1 | P | +5V | East | E01 | E1C | 1 | 4 | 0
37 | 5 |  | HV | [6 empty] | 12 | 2 | P | +5V | East | E02 | E1C | 1 | 4 | 1
38 | 5 | N | +2V | West | W05 | W4A |  |  |  | 20 | 3 | P | +5V | East | E03 | E1C | 1 | 4 | 2
39 | 5 | N | -2V | West | W05 | W4B |  |  |  | 28 | 4 | P | +5V | East | E04 | E1C | 1 | 4 | 3
40 | 5 | N | +5V | West | W05 | W4C |  |  |  | 84 | 11 | P | +5V | East | E11 | E2C | 1 | 4 | 4
41 | [9 empty] | 92 | 12 | P | +5V | East | E12 | E2C | 1 | 4 | 5
42 | 6 | P | +2V | East | E06 | E1A |  |  |  | 100 | 13 | P | +5V | East | E13 | E2C | 1 | 4 | 6
43 | 6 | P | -2V | East | E06 | E1B |  |  |  | 108 | 14 | P | +5V | East | E14 | E2C | 1 | 4 | 7
44 | 6 | P | +5V | East | E06 | E1C |  |  |  | 68 | 9 | P | +5V | East | E09 | E5C | 1 | 5 | 0
45 | 6 |  | HV | [6 empty] | 76 | 10 | P | +5V | East | E10 | E5C | 1 | 5 | 1
46 | 6 | N | +2V | West | W06 | W2A |  |  |  | 148 | 19 | P | +5V | East | E19 | E5C | 1 | 5 | 2
47 | 6 | N | -2V | West | W06 | W2B |  |  |  | 156 | 20 | P | +5V | East | E20 | E5C | 1 | 5 | 3
48 | 6 | N | +5V | West | W06 | W2C |  |  |  | 152 | 19 | N | +5V | West | W19 | W5C | 1 | 5 | 4
49 | [9 empty] | 160 | 20 | N | +5V | West | W20 | W5C | 1 | 5 | 5
50 | 7 | P | +2V | East | E07 | E1A |  |  |  | 72 | 9 | N | +5V | West | W09 | W5C | 1 | 5 | 6
51 | 7 | P | -2V | East | E07 | E1B |  |  |  | 80 | 10 | N | +5V | West | W10 | W5C | 1 | 5 | 7
52 | 7 | P | +5V | East | E07 | E1C |  |  |  | 88 | 11 | N | +5V | West | W11 | W1C | 1 | 6 | 0
53 | 7 |  | HV | [6 empty] | 96 | 12 | N | +5V | West | W12 | W1C | 1 | 6 | 1
54 | 7 | N | +2V | West | W07 | W2A |  |  |  | 104 | 13 | N | +5V | West | W13 | W1C | 1 | 6 | 2
55 | 7 | N | -2V | West | W07 | W2B |  |  |  | 112 | 14 | N | +5V | West | W14 | W1C | 1 | 6 | 3
56 | 7 | N | +5V | West | W07 | W2C |  |  |  | 8 | 1 | N | +5V | West | W01 | W2C | 1 | 6 | 4
57 | [9 empty] | 16 | 2 | N | +5V | West | W02 | W2C | 1 | 6 | 5
58 | 8 | P | +2V | East | E08 | E1A |  |  |  | 24 | 3 | N | +5V | West | W03 | W2C | 1 | 6 | 6
59 | 8 | P | -2V | East | E08 | E1B |  |  |  | 32 | 4 | N | +5V | West | W04 | W2C | 1 | 6 | 7
60 | 8 | P | +5V | East | E08 | E1C |  |  |  | 86 | 11 | N | +2V | West | W11 | W1A | 1 | 7 | 0
61 | 8 |  | HV | [6 empty] | 94 | 12 | N | +2V | West | W12 | W1A | 1 | 7 | 1
62 | 8 | N | +2V | West | W08 | W2A |  |  |  | 102 | 13 | N | +2V | West | W13 | W1A | 1 | 7 | 2
63 | 8 | N | -2V | West | W08 | W2B |  |  |  | 110 | 14 | N | +2V | West | W14 | W1A | 1 | 7 | 3
64 | 8 | N | +5V | West | W08 | W2C |  |  |  | 87 | 11 | N | -2V | West | W11 | W1B | 1 | 7 | 4
65 | [9 empty] | 95 | 12 | N | -2V | West | W12 | W1B | 1 | 7 | 5
66 | 9 | P | +2V | East | E09 | E5A | 1 | 3 | 0 | 103 | 13 | N | -2V | West | W13 | W1B | 1 | 7 | 6
67 | 9 | P | -2V | East | E09 | E5B | 1 | 3 | 4 | 111 | 14 | N | -2V | West | W14 | W1B | 1 | 7 | 7
68 | 9 | P | +5V | East | E09 | E5C | 1 | 5 | 0 | 6 | 1 | N | +2V | West | W01 | W2A | 1 | 8 | 0
69 | 9 |  | HV | East | E09 | EHT | 1 | 0 | 6 | 14 | 2 | N | +2V | West | W02 | W2A | 1 | 8 | 1
70 | 9 | N | +2V | West | W09 | W5A | 1 | 9 | 2 | 22 | 3 | N | +2V | West | W03 | W2A | 1 | 8 | 2
71 | 9 | N | -2V | West | W09 | W5B | 1 | 9 | 6 | 30 | 4 | N | +2V | West | W04 | W2A | 1 | 8 | 3
72 | 9 | N | +5V | West | W09 | W5C | 1 | 5 | 6 | 7 | 1 | N | -2V | West | W01 | W2B | 1 | 8 | 4
73 | [9 empty] | 15 | 2 | N | -2V | West | W02 | W2B | 1 | 8 | 5
74 | 10 | P | +2V | East | E10 | E5A | 1 | 3 | 1 | 23 | 3 | N | -2V | West | W03 | W2B | 1 | 8 | 6
75 | 10 | P | -2V | East | E10 | E5B | 1 | 3 | 5 | 31 | 4 | N | -2V | West | W04 | W2B | 1 | 8 | 7
76 | 10 | P | +5V | East | E10 | E5C | 1 | 5 | 1 | 150 | 19 | N | +2V | West | W19 | W5A | 1 | 9 | 0
77 | 10 |  | HV | East | E10 | EHT | 1 | 0 | 5 | 158 | 20 | N | +2V | West | W20 | W5A | 1 | 9 | 1
78 | 10 | N | +2V | West | W10 | W5A | 1 | 9 | 3 | 70 | 9 | N | +2V | West | W09 | W5A | 1 | 9 | 2
79 | 10 | N | -2V | West | W10 | W5B | 1 | 9 | 7 | 78 | 10 | N | +2V | West | W10 | W5A | 1 | 9 | 3
80 | 10 | N | +5V | West | W10 | W5C | 1 | 5 | 7 | 151 | 19 | N | -2V | West | W19 | W5B | 1 | 9 | 4
81 | [9 empty] | 159 | 20 | N | -2V | West | W20 | W5B | 1 | 9 | 5
82 | 11 | P | +2V | East | E11 | E2A | 1 | 2 | 0 | 71 | 9 | N | -2V | West | W09 | W5B | 1 | 9 | 6
83 | 11 | P | -2V | East | E11 | E2B | 1 | 2 | 4 | 79 | 10 | N | -2V | West | W10 | W5B | 1 | 9 | 7
84 | 11 | P | +5V | East | E11 | E2C | 1 | 4 | 4 | 9
85 | 11 |  | HV | West | W11 | WHT | 1 | 0 | 4 | 17
86 | 11 | N | +2V | West | W11 | W1A | 1 | 7 | 0 | 25
87 | 11 | N | -2V | West | W11 | W1B | 1 | 7 | 4 | 29 | 4 |  | HV
88 | 11 | N | +5V | West | W11 | W1C | 1 | 6 | 0 | 33
89 | [9 empty] | 34 | 5 | P | +2V | East | E05 | E3A
90 | 12 | P | +2V | East | E12 | E2A | 1 | 2 | 1 | 35 | 5 | P | -2V | East | E05 | E3B
91 | 12 | P | -2V | East | E12 | E2B | 1 | 2 | 5 | 36 | 5 | P | +5V | East | E05 | E3C
92 | 12 | P | +5V | East | E12 | E2C | 1 | 4 | 5 | 37 | 5 |  | HV
93 | 12 |  | HV | West | W12 | WHT | 1 | 0 | 3 | 38 | 5 | N | +2V | West | W05 | W4A
94 | 12 | N | +2V | West | W12 | W1A | 1 | 7 | 1 | 39 | 5 | N | -2V | West | W05 | W4B
95 | 12 | N | -2V | West | W12 | W1B | 1 | 7 | 5 | 40 | 5 | N | +5V | West | W05 | W4C
96 | 12 | N | +5V | West | W12 | W1C | 1 | 6 | 1 | 41
97 | [9 empty] | 42 | 6 | P | +2V | East | E06 | E1A
98 | 13 | P | +2V | East | E13 | E2A | 1 | 2 | 2 | 43 | 6 | P | -2V | East | E06 | E1B
99 | 13 | P | -2V | East | E13 | E2B | 1 | 2 | 6 | 44 | 6 | P | +5V | East | E06 | E1C
100 | 13 | P | +5V | East | E13 | E2C | 1 | 4 | 6 | 45 | 6 |  | HV
101 | 13 |  | HV | West | W13 | WHT | 1 | 0 | 2 | 46 | 6 | N | +2V | West | W06 | W2A
102 | 13 | N | +2V | West | W13 | W1A | 1 | 7 | 2 | 47 | 6 | N | -2V | West | W06 | W2B
103 | 13 | N | -2V | West | W13 | W1B | 1 | 7 | 6 | 48 | 6 | N | +5V | West | W06 | W2C
104 | 13 | N | +5V | West | W13 | W1C | 1 | 6 | 2 | 49
105 | [9 empty] | 50 | 7 | P | +2V | East | E07 | E1A
106 | 14 | P | +2V | East | E14 | E2A | 1 | 2 | 3 | 51 | 7 | P | -2V | East | E07 | E1B
107 | 14 | P | -2V | East | E14 | E2B | 1 | 2 | 7 | 52 | 7 | P | +5V | East | E07 | E1C
108 | 14 | P | +5V | East | E14 | E2C | 1 | 4 | 7 | 53 | 7 |  | HV
109 | 14 |  | HV | [6 empty] | 54 | 7 | N | +2V | West | W07 | W2A
110 | 14 | N | +2V | West | W14 | W1A | 1 | 7 | 3 | 55 | 7 | N | -2V | West | W07 | W2B
111 | 14 | N | -2V | West | W14 | W1B | 1 | 7 | 7 | 56 | 7 | N | +5V | West | W07 | W2C
112 | 14 | N | +5V | West | W14 | W1C | 1 | 6 | 3 | 57
113 | [9 empty] | 58 | 8 | P | +2V | East | E08 | E1A
114 | 15 | P | +2V | East | E15 | E4A |  |  |  | 59 | 8 | P | -2V | East | E08 | E1B
115 | 15 | P | -2V | East | E15 | E4B |  |  |  | 60 | 8 | P | +5V | East | E08 | E1C
116 | 15 | P | +5V | East | E15 | E4C |  |  |  | 61 | 8 |  | HV
117 | 15 |  | HV | [6 empty] | 62 | 8 | N | +2V | West | W08 | W2A
118 | 15 | N | +2V | West | W15 | W3A |  |  |  | 63 | 8 | N | -2V | West | W08 | W2B
119 | 15 | N | -2V | West | W15 | W3B |  |  |  | 64 | 8 | N | +5V | West | W08 | W2C
120 | 15 | N | +5V | West | W15 | W3C |  |  |  | 65
121 | [9 empty] | 73
122 | 16 | P | +2V | East | E16 | E4A |  |  |  | 81
123 | 16 | P | -2V | East | E16 | E4B |  |  |  | 89
124 | 16 | P | +5V | East | E16 | E4C |  |  |  | 97
125 | 16 |  | HV | [6 empty] | 105
126 | 16 | N | +2V | West | W16 | W3A |  |  |  | 109 | 14 |  | HV
127 | 16 | N | -2V | West | W16 | W3B |  |  |  | 113
128 | 16 | N | +5V | West | W16 | W3C |  |  |  | 114 | 15 | P | +2V | East | E15 | E4A
129 | [9 empty] | 115 | 15 | P | -2V | East | E15 | E4B
130 | 17 | P | +2V | East | E17 | E4A |  |  |  | 116 | 15 | P | +5V | East | E15 | E4C
131 | 17 | P | -2V | East | E17 | E4B |  |  |  | 117 | 15 |  | HV
132 | 17 | P | +5V | East | E17 | E4C |  |  |  | 118 | 15 | N | +2V | West | W15 | W3A
133 | 17 |  | HV | [6 empty] | 119 | 15 | N | -2V | West | W15 | W3B
134 | 17 | N | +2V | West | W17 | W3A |  |  |  | 120 | 15 | N | +5V | West | W15 | W3C
135 | 17 | N | -2V | West | W17 | W3B |  |  |  | 121
136 | 17 | N | +5V | West | W17 | W3C |  |  |  | 122 | 16 | P | +2V | East | E16 | E4A
137 | [9 empty] | 123 | 16 | P | -2V | East | E16 | E4B
138 | 18 | P | +2V | East | E18 | E4A |  |  |  | 124 | 16 | P | +5V | East | E16 | E4C
139 | 18 | P | -2V | East | E18 | E4B |  |  |  | 125 | 16 |  | HV
140 | 18 | P | +5V | East | E18 | E4C |  |  |  | 126 | 16 | N | +2V | West | W16 | W3A
141 | 18 |  | HV | [6 empty] | 127 | 16 | N | -2V | West | W16 | W3B
142 | 18 | N | +2V | West | W18 | W3A |  |  |  | 128 | 16 | N | +5V | West | W16 | W3C
143 | 18 | N | -2V | West | W18 | W3B |  |  |  | 129
144 | 18 | N | +5V | West | W18 | W3C |  |  |  | 130 | 17 | P | +2V | East | E17 | E4A
145 | [9 empty] | 131 | 17 | P | -2V | East | E17 | E4B
146 | 19 | P | +2V | East | E19 | E5A | 1 | 3 | 2 | 132 | 17 | P | +5V | East | E17 | E4C
147 | 19 | P | -2V | East | E19 | E5B | 1 | 3 | 6 | 133 | 17 |  | HV
148 | 19 | P | +5V | East | E19 | E5C | 1 | 5 | 2 | 134 | 17 | N | +2V | West | W17 | W3A
149 | 19 |  | HV | West | W19 | WHT | 1 | 0 | 1 | 135 | 17 | N | -2V | West | W17 | W3B
150 | 19 | N | +2V | West | W19 | W5A | 1 | 9 | 0 | 136 | 17 | N | +5V | West | W17 | W3C
151 | 19 | N | -2V | West | W19 | W5B | 1 | 9 | 4 | 137
152 | 19 | N | +5V | West | W19 | W5C | 1 | 5 | 4 | 138 | 18 | P | +2V | East | E18 | E4A
153 | [9 empty] | 139 | 18 | P | -2V | East | E18 | E4B
154 | 20 | P | +2V | East | E20 | E5A | 1 | 3 | 3 | 140 | 18 | P | +5V | East | E18 | E4C
155 | 20 | P | -2V | East | E20 | E5B | 1 | 3 | 7 | 141 | 18 |  | HV
156 | 20 | P | +5V | East | E20 | E5C | 1 | 5 | 3 | 142 | 18 | N | +2V | West | W18 | W3A
157 | 20 |  | HV | West | W20 | WHT | 1 | 0 | 0 | 143 | 18 | N | -2V | West | W18 | W3B
158 | 20 | N | +2V | West | W20 | W5A | 1 | 9 | 1 | 144 | 18 | N | +5V | West | W18 | W3C
159 | 20 | N | -2V | West | W20 | W5B | 1 | 9 | 5 | 145
160 | 20 | N | +5V | West | W20 | W5C | 1 | 5 | 5 | 153