## Slide 1: A Pre-shower for the FMS

## Slide 2: Physics Objectives
Improve lepton-photon-hadron separation in the FMS to do
Some examples
  J/Ψ physics in pAu and pp at forward rapidities
  current status from chris perkins from run-08

## Slide 3: Physics Objectives
Direct photon physics in pp and pA
  to study AN in transversely polarised pp and pA
    Sivers fct contribution to AN
    see Yuri’s odderon model for the underlying process of AN has any bearing on what is going on.  AN=0
    example on what can be done: p0 AN in pp and pA

## Slide 4: Geant Model for AnDY for Run-13
use ANDY design as inspiration
for FMS preshower

## Slide 6
Readout-Concept:
The total of 228 strips from the three planes will
be read out by eight 32-channel QT boards, leaving
28 spare channels. The detectors are readout by
XP-2972 photomultiplier tubes at their ends distant
from the beam. Each XP-2972 is powered by a
Cockcroft-Walton base. The XP-2972 tubes
and CW bases were purchased for AGS/E-864
and 400 sets have been loaned
to ANDY.

## Slide 7: Single particle GEANT study Preshower 1 : photon rejection
GEANT simulation of a pre-shower detector made of 0.5cm thick plastic scintillation counter. Responses for 30GeV electrons and photons are simulated. A cut of 0.5MeV < dE < 1.5MeV will retain 86% of electrons, while rejecting 98% photons including ones converted to e+e- pairs in beam pipe and preshower detector itself.
Retain 86% electrons (and charged hadrons)
Reject 98% photons

## Slide 8: Single particle GEANT study Preshower 2 : hadron/photon rejection
GEANT simulation of 2nd pre-shower detector made of 0.5cm thick plastic scintillation counter placed after 1cm Pb converter. Responses for 30GeV electrons, charged pion and photons are simulated. A cut of energy deposit in the 2nd pre-shower above 5MeV will retain 98% of electrons, while rejecting 85% of pions and 39% of photons.
Retain 98% electrons
Reject 85% hadrons
Reject 39% photons

## Slide 9: Study BY Len on IMPACT ON FMS photon reconstruction
Use FCS simulation using only the clusters and tracks within the FMS geometry at 200 GeV.
Photon reconstruction efficiency (~100%) and π0-ϒ separation are comparable under 80 GeV for the FMS and the FCS EMCal.
Energy resolution is better for the FCS. This has not been adjusted for the current estimate because the AN measurement is not very sensitive to the smearing in energy scale.
The charged track detection efficiency is set at 86%, per Akio’s study of the FMS pre-shower model, which showed that the first layer can be used to accept 98% of the photons and reject 86% of the charged hadrons.
SET-UP used:

## Slide 10: FMS + Charged Track Isolation Cut
In addition to the isolation cut (r = 0.7), all photon pairs are examined (including photons outside the cone) to reject π0 and η.

## Slide 11: NLO pQCD Cross-sections
Use calculations by Werner at <η> ~ 3.7 that were produced for a previous analysis.

## Slide 12: Event Count with ∫L = 40 pb-1
Event count after the isolation cut was applied, based on the pQCD X-sections, π0 and η decay toy MC, and the full simulation isolation cuts.

## Slide 13: AN Uncertainty Projection
Prompt = Direct - Fragmentation photons. The uncertainty in fragmentation photon AN was set by hand at 5%, as a rough guess.

## Slide 15: what do we mean by “Direct”….
p0
Prompt
“Fragmentation”
much better called internal bremsstrahlung
Induced
EM & Weak Decay
proton – proton:
g
Fragmentation
Au – Au or d-Au
Thermal Radiation
QGP / Hadron Gas
De-excitation
for excited
states
(1)
(2)
(3)
(4)
(5)
(6)

## Slide 16: What is in Pythia 6.4
Processes included which would fall under prompt (1)
  14: qqbar  gg
  18: qqbar  gg (19: qqbar  gZ0 20: qqbar  gW+
  29: qg  qg
  114: gg  gg
  115: gg  gg (106: gg  J/Psig 116: gg  Z0g )
  initial and final internal bremsstrahlung (g and g) (3)
    Pythia manual section 2.2
  Process 3 and 4 are for sure not in pythia
  I’m still checking 5
  the decay of resonances like the p0 is of course in pythia