T963 LMRPC Data Structure

First three lines in each file are:

- comments, and internal DAQ run#

- Date and time

- Data format: Hex or Decimal

Next words are as follows:

| word |  |  |  |
| --- | --- | --- | --- |
| 1 |  | #events in buffer, no part of event word count | Only beginning of buffer, #events+0x8000 if buffer is not full |
| 1 |  | Wordcounts/event | 104 words for T963 |
| 12 | ADC[0-11] | MRPC1 |  |
| 12 | ADC[12-23] | MRPC2 |  |
| 4 | ADC[24-27] | TOF1 | 10x10cm Octagon |
| 8 | ADC[28-35] | Reserved1 |  |
| 4 | ADC[36-39] | TOF2 | 10x10cm Octagon |
| 2 | ADC[40-41] | TOFBNL | ~3cmx3cm scintillators |
| 1 | ADC[42] | Reserved2 |  |
| 1 | ADC[43] | Prescaled TOF1 trigger |  |
| 2 | ADC[44-45] | Cherenkov1&2 |  |
| 1 | ADC[46] | TOF1&TOF2 trigger |  |
| 1 | ADC[47] | Pedestal Trigger |  |
| 12 | TDC[0-11] | MRPC1 | Need +TDC[31] |
| 12 | TDC[12-23] | MRPC2 | Need +TDC[31] |
| 4 | TDC[24-27] | TOF1 |  |
| 2 | TDC[28-29] | TOFBNL |  |
| 1 | TDC[30] | Reserved3 |  |
| 1 | TDC[31] | PreTrig Time2Gate | MRPC TDC + PreTrig |
| 4 | TDC[32-35] | TOF2 |  |
| 2 | TDC[36-37] | Cherenkov1 & 2 | N2 (e,muon, pion PID) |
| 2 | TDC[38-39] | Reserved4 |  |
| 16 | Scaler[0-15] | See next tables |  |
| 1 | FFFF | End of buffer, not part of event word counts | Only exist at end of buffer, no every event |

16 words are of scalers, first 12 clear each run, gated by spill,

| 1 | Scaler[0] | 60Hz clock | Reset each run |
| --- | --- | --- | --- |
| 1 | Scaler[1] | Gated (TOF1&2) trigger |  |
| 2 | Scaler[2-3] | Cherenkov1&2 |  |
| 1 | Scaler[4] | Trig2MWPC | Was pedestal before 05/08 1PM |
| 1 | Scaler[5] | Gated Trigger2MRPCDAQ |  |
| 1 | Scaler[6] | Gated Pedestal |  |
| 1 | Scaler[7] | Gated FastClear |  |
| 2 | Scaler[8-9] | MRPC2 [0-5] and [6-11] noisy rate | Pedestal runs: noisy rate With beam, hits+noise |
| 2 | Scaler[10-11] | MRPC1 [11] &[10] noisy rate |  |
| 1 | Scaler[12] | Phase of 60Hz | 1MHz clock reset by 60Hz |
| 1 | Scaler[13] | Begin of Spill | #Spill (05/07 3PM) |
| 1 | Scaler[14] | Prescaler | TOF1/500 (05/07 3PM) |
| 1 | Scaler[15] | Reserved5 |  |